## Slide 1: Capacity Market Advisory Group (CMAG) Meeting 45
CMAG Secretariat
16 June 2026

## Slide 2: Meeting Agenda
Agenda Item ​ | Number ​ | Lead ​ | Approx Time​
Standing Items​ |  |  | 
Welcome and Apologies​ | ​ | Simon Dawes (CMAG Facilitator)​ | 10:00
CM Representative Updates​ | ​ | CM Settlement Body; EMR Delivery Body; Ofgem and DESNZ​ | 10:05
CMAG Secretariat Update​ | ​ | ​Simon Dawes | 10:30
Industry Feedback |  | Simon Dawes | ​10:35
Discussion Items |  |  | 
CP373 follow-on items | 45/01 | Paul Farmer | 
Secondary Trading review | 45/02 | Chris Arnold | 
Decision Items |  |  | 
CP399: Capacity Provider obligations when disconnected due to TO/DNO infrastructure. | 45/03 | Chris Arnold | 
Information Items |  |  | 
Forward Work Plan |  | All | 
Any Other Business (AOB) |  | All | 
Break Type | Approx Time
Comfort Break | 11:30 – 11:40
Lunch | 12:45 – 13:30

## Slide 3: Standing Items
Welcome and Apologies
1
CM Representative Updates​
CMSB​
EMR DB​
Ofgem​
DESNZ
2
Industry Feedback
3
CMAG Secretariat
Update​
4

## Slide 4: Discussion Items (CMAG Surgery)

## Slide 5
CP373 follow-on items

## Slide 6
Presenter:​ Paul Farmer | Title:​ CP373 follow-on items | Agenda item:​ 45/01
CP reference number: ​CPXXX | Status:​ CMAG Development | Previous CMAG discussion:​ Meeting 32 (20 May 2025 as priority 3) Meeting 33 (17 June 2025 as priority 3) Meeting 34 (16 July 2025 as priority 4) Meeting 40 (20 Jan 2026 as 3&4) Meeting 41 (17 February 2026 as ADP) Meeting 42 (17 March 2026 as priority 3)
Issues: Rule changes proposed that relate to Approved Metering Solution and Metering Configuration Solution. Misalignment between Transmission Licence C16 balancing service in paragraph 3.1 of Schedules 2 & 2A and the more limited Schedule 4 Relevant Balancing Services (RBS). Inconsistencies between DSR Test and Stress Event Baseline Methodologies. |  | 
Purpose of discussion: Discuss proposals. Prioritisation - Inconsistencies between DSR Test and Stress Event Baseline Methodologies. |  | 
Next steps: ​ To be agreed. |  | 
6

## Slide 7: Standardising the use of an Approved Metering Solution from a submitted Metering Configuration Solution

## Slide 8
Background
Some Rules do refer to Approved Metering Solutions (AMS);
          8.3.3(i) / 9.2.5(ba) – Secondary Trading
          13.2.5(b)(ii) / 13.2B.5(b)(ii) - DSR Tests.
          13.3.1 / 13.3.6(a)(iii) / 13.3.6B(a)(iii) - Metering Tests.
The continuing reference to MPANs or BMUs in some Rules appear out of sync with the ultimate requirement for an Approved Metering Solution (AMS).
Why is it important to implement this proposed change?
    CMAG Secretariat believes it follows DESNZ’s desire to simplify the Rules.
    Also retaining BMU or MPAN references in certain place’s, risks inconsistencies between such Rules where a CMU is comprised of Generating Units with complex metering.
Proposing key requirements around metering should be standardised.
    Amend AMS to simplify it to recognise CM Settlement Body approval of a Metering Configuration Solution (MCS).
    MCS definition will then specify 4 types of Meter Configuration more simply.
Approved Metering Solutions

## Slide 9
Proposed simplification of Rule 1.2 Definitions:
Approved Metering Solutions
Approved Metering Solution | means (a) a Metering Configuration Solution (including CM Aggregation Rules) approved by the CM Settlement Body which is an arrangement of Metering Equipment for: (i) a Generating Unit that is not a BM Unit; (ii) a DSR CMU Component that is not a BM Unit; or (iii) a CMU that is a partial BM Unit; or (b) a Metering Configuration Solution in respect of a Generating Unit or DSR CMU Component where such Metering Configuration Solution is comprised of a BM Unit that is registered in the Central Meter Registration Service in accordance with the BSC and CM Aggregation Rules are in place

## Slide 10
Proposed simplification of Rule 1.2 Definitions:
Amend MCS to include new definition of Central Meter Registration Service Metering Configuration Solution.
Approved Metering Solutions
Metering Configuration Solution | means, as applicable, any one of the following: (a) Balancing Services Metering Configuration Solution; (b) Bespoke Metering Configuration Solution; or (c) Supplier Settlement Metering Configuration Solution; or (d) Central Meter Registration Service Metering Configuration Solution.
Balancing Services Metering Configuration Solution | No change
Bespoke Metering Configuration Solution | No change

## Slide 11
Proposed simplification of Rule 1.2 Definitions:
Add Central Meter Registration Service Metering Configuration Solution using the text from Definition AMS(b).
Approved Metering Solutions
Central Meter Registration Service Metering Configuration Solution | means a Metering System in respect of a Generating Unit or DSR CMU Component comprised of a BM Unit that is registered in the Central Meter Registration Service in accordance with the BSC, and CM Aggregation Rules are in place
Supplier Settlement Metering Configuration Solution | With Ofgem under CP392, proposal below:
BSC Supplier Settlement Metering Configuration Solution | means a Metering System that uses a supplier’s Half Hourly Metering System by using Half Hourly Data Aggregators to collect metered data means a supplier’s Metering System or Asset Metering System that can record UTC Period Level Consumption for use in Settlement, and for which UTC Period Level Consumption data is provided by a Half Hourly Data Aggregator, Half Hourly Data Collector or the Market-wide Data Service.
Notes: CP392 – is the adjustment to allow COP 11 meters to be added as an additional Metering Solution in the CM, reducing reliance on Bespoke Metering Config Solution.

## Slide 12
Rules Amendment
3.4.3 Nominations relating to the CMU
Each Applicant must:
          specify in the Application:
    (iii) BM Unit Identifiers (as defined in the Balancing and Settlement Code) Metering Configuration Solution, if applicable;
Original CP373 EMR DB comment
Keep this Rule because Existing Generating CMUs have to demonstrate previous performance in 3 SPs under 3.6.1, then all Applications under 3.4.3(a)(iii) have to provide BMU [identifiers], if applicable.
Previous CMAG discussion
Will this mean a CMU must go back to Elexon (EMRS) and restate what metering or aggregation sits behind the BMU?
  Having to restate previously provided information is not the intention. 3.4.3 applies to all Applications, but no CMUs have to provide a Metering Assessment (containing the MCS) under Rule 8.3.3 at Application.
CMAG Secretariat question
Would it be better to move 3.4.3(a)(iii) to within 3.6.1(a) Additional Information for an Existing Generating CMU?
  Note that 3.6.1(b/c) relates to non-CMRS CMUs.
Approved Metering Solutions
Notes: Metering information is no longer included as part of the Prequalification process. Rules that previously required metering information be provided have been omitted from the Rules. My understanding is this was done because the responsibility for ensuring metering requirements are meeting the required standards sits with EMRS, and EMRS are not involved in the prequalification process. This rule should remain as it is.

## Slide 13
Rules Amendment
4.4.2 Subject to Rule 3.8.1A(c)(ii), the Delivery Body must not Prequalify a CMU where:
(c) any Meter Point Administration Number Meter Configuration Solution specified in relation to the CMU pursuant to Rule 3.4.3(a)(ii) has already been registered to another CMU in respect of which a person either:
(i) has a Capacity Agreement in relation to one or more of the same Delivery Years; or
(ii) has submitted a prior Application in the same Prequalification Window,
unless the Application includes a declaration under Rule 3.4.3(b);
Previous CMAG discussion
4.4.2 (c) should be “Omitted” as Metering information is no longer required as part of the Prequalification process. As per The Capacity Market (Amendment) (No. 2) Rules 2024.
CMAG Secretariat
Agree, noting 3.4.3(b) was made “Omitted” by CP373 in Rules 2024, so the text “unless the Application includes a declaration under Rule 3.4.3(b);” is also superfluous and could be deleted.
Approved Metering Solutions

## Slide 14: Aligning Schedule 2 / 2A and Schedule 4 balancing service terminology

## Slide 15
As discussed at previous CMAG meetings, many DSR providers may be unaware that they are not receiving credit for Balancing Services (BS) within Baseline calculations, potentially leading to an underestimation of their delivered DSR Capacity.
Having conducted a review, including consideration of the original CP44 proposal from 2015, CMAG Secretariat presented the following:
  The original objective was to take account of BS being delivered for a contracted period that was not a Settlement Period (SP);
  These were proposed in CP44 as the ‘Balancing Service Delivery Period’;
  The condoc proposed changes, using the term Alternative Delivery Period (ADP), but still limited this to a 30-minute period, although not aligned to Settlement Periods (SP);
  Only 1 response supported this change while another opposed it, because it was inconsistent with metering under the CM; and
  The final Rules (Amendment) 2015 provided for ADP as an alternative to SP for 13.2 DSR Tests and Sch 2/2A Baselines, but did not allow for ADP to be used in settlement of a Stress Event, as DSR Volume via Rule 8.6 still required SP.
CMAG Secretariat took the view that the changes did not meet the original CP44 objective and have left possible inconsistencies in the Rules.
CMAG Secretariat is not suggesting changes to the underlying methodology, only clarity over what BS qualify for RBS adjustments and how BS timescales are translated to Settlement Periods.
Background

## Slide 16
Initial Questions at CMAG 41
Have we got enough feedback?
Should this Issue be taken forward as a Change Proposal?
What other comments and feedback do CMAG Members, Observers and Representatives have?
Questions from more detailed CMAG Secretariat review
    Does CMAG agree that the current definition and treatment of DSR Alternative Delivery Periods should be addressed? What term should be used instead of ADP, eg Balancing Services Delivery Period or Relevant Balancing Service contract period?
    Should the requirement for RBS data, pertinent to amending baseline samples, be incorporated in Sch 2/2A or incorporated within a more wide-ranging amendment to Rule 14.5?
    An Applicant or Capacity Provider cannot be expected to be certain of the Baseline Sample Data Points that EMR DB will determine are required for the Provisional Demand Baseline (PBD) or the Pre-CMN Adjustment (PCA), which would mean all 6 weeks of data for the pertinent Settlement Periods being provided – is that an acceptable call for RBS data?
    Is it appropriate that the Applicant or Capacity Provider apportions the RBS volume for the RBS ‘contract period’ between SP, rather than EMR DB simple pro-rata of such data between different timescales?

## Slide 17
Align balancing service terminology
Context
At CMAG 41, CMAG Members questioned whether reform is necessary given: ADPs use to date, and considering broader
market reforms (such as Market-wide Half Hourly Settlement and balancing service reforms). If a light-touch clarification within the Rules can be developed, this may be pursued.
The Relevant Balancing Services (RBS) Guidelines shall be published by the Delivery Body and must provide which services are Relevant Balancing Services and thus are eligible for a 𝛽 adjustment.
Proposed Solution
Amend Schedule 4 to include an adjustment to the Demand Sample under Schedules 2 and 2A section 3.1.
Schedule 4:
The Relevant Balancing Services Guidelines shall be published by the Delivery Body and must provide the following information:
which services are Relevant Balancing Services and thus are eligible for a 𝛽 adjustment under Rule 8.5.2; and
Demand Sample amendment for
a DSR Component under Schedule 2 section 3.1 or
a Generating Unit that constitutes a Storage Facility under Schedule 2A section 3.1; and

## Slide 18
Align balancing service terminology
Proposed Solution
Align Schedules 2 and 2A, section 3.1 to use RBS (as defined under Schedule 4) rather than the current broader definition
SCHEDULE 2: BASELINE METHODOLOGY:
3 Baseline calculation
3.1 Each Demand Sample must be amended by:
3.1.1 adding any energy being provided by the reduction of consumption or increase in generation; and
3.1.2 subtracting any energy being consumed or generation not being provided, in each case for the purposes of a Relevant Bbalancing Sservice defined as such pursuant to Standard Condition C16 of the Transmission Licence and provided by the DSR CMU Component during the period to which it relates (each an “Adjusted Demand Sample”).
SCHEDULE 2A: BASELINE METHODOLOGY FOR STORAGE FACILITIES:
3 Baseline calculation
3.1 Each Demand Sample must be amended by:
3.1.1 adding any energy being provided by the reduction of consumption or increase in generation; and
3.1.2 subtracting any energy being consumed or generation not being provided, in each case for the purposes of a Relevant Bbalancing Sservice defined as such pursuant to Standard Condition C16 of the Transmission Licence and provided by the DSR CMU Component during the period to which it relates (each an “Adjusted Demand Sample”).

## Slide 19: Inconsistencies between DSR Test and Stress Event Baseline Methodologies

## Slide 20
Background
Previous DSR agreements have been for a single year, but now multi-year Capacity Agreements for Unproven DSR CMUs are allowed.
The definition of Applicable Baseline Methodology means that when determining DSR Volume:
(a) during a System Stress Event (SSE), the Baseline Methodology in Schedule 2 is grandfathered to that in the Rules at Prequalification for the CMU giving rise to the Capacity Agreement.
(b) for DSR Tests (DSRT) the latest Schedule 2 will apply,
i.e. the methodology used could be different between DSRT and an SSE. Currently a timing issue without impact.
Why is it important to implement this proposed change?
    CMAG Secretariat believes there is an increased chance of changing Baseline Methodology in the future, to align with new Flexibility Market baselines. This inconsistency in baselines between DSRT and SSE would then become more of an issue.
DSR Test and Stress Event
Applicable Baseline Methodology | means: for the purposes of determining DSR Volume in the calculation of Eij for a DSR CMU during a System Stress Event, the baseline methodology in use at the time the DSR CMU pre-qualified for the relevant delivery year as recorded on the Capacity Market Register; and otherwise, the Baseline Methodology

## Slide 21
DSR Test and Stress Event
Sch 2/2A Baseline Methodologies have not been amended in recent years.
However, as previously mentioned, expect that Schedule 2 DSR Baseline will be amended in the coming years, to align with a future Flexibility Market baseline. This would result in Capacity Agreements arising from Auctions before that change using a different Schedule 2 for Stress Events than for post-change DSR Tests.
A future change in Schedule 2 might involve:
    different reference period, i.e. moving from 6 weeks;
    different sampling methodology (currently up to 10 over latest 2 weeks and 6 over latest 6 weeks);
    aligning balancing services Adjustments to Demand Samples between Capacity Market, BSC and Flexibility Markets; and
    use of Pre-CMN Adjustment (PCA) for 6 SP before the CMN is issued (only applies to System Stress Events) etc.

## Slide 22: Secondary Trading Review

## Slide 23: Secondary trading to recognize increases in Operational physical capacity
The following scenarios are areas in which Headroom Capacity could arise:
Increases in Connection Capacity after Prequalification - such as phased connection upgrades or revised Transmission Entry Capacity (TEC) or Maximum Export Capacity (MEC) levels.
Deliberate conservative declarations of Connection Capacity at Prequalification (this applies particularly for Existing CMUs that can set Connection Capacity where Applicants understate their Connection Capacity or Unproven DSR Capacity to mitigate SPD or EPT risk).
Substantial changes arising after a CMU’s Capacity Agreement becomes effective, including cases where Prospective CMUs commission additional equipment after meeting MCR or SCM thresholds (>50% or >=90% of AACO respectively).
Operational improvements, such as maintenance, minor upgrades, software improvements, or battery augmentation that increase Operational physical capacity above the level originally proven when the Capacity Agreement became effective.
Proven DSR Capacity improvements, where customers’ demand profiles or control systems improve after the last issued DSR Test Certificate (DSRTC).

## Slide 24: Secondary trading to recognize increases in Operational physical capacity
[Content to be updated prior to meeting]

## Slide 25: CP399 - Capacity Provider obligations when disconnected due to network operator infrastructure

## Slide 26: CP399 Session Objectives
The objectives for the session today are to:
Confirm treatment of ALFCO and CMVR interactions with CP399
Review and discuss updated legal text
Review Impact Assessment responses from Delivery Partners
Make CMAG recommendations

## Slide 27: CP399 Updates of ALFCO and CMVR Treatment - Background
Following CMAG 44 CMAG Secretariat took an action to clarify the treatment of the Adjusted Load Following Capacity Obligation (ALFCO) and Capacity Market Volume Reallocation (CMVR) and how the CP399 solution would interact with these elements after concerns were raised that suspended capacity under the CP399 solution could raise delivery requirements on other non-suspended Capacity Committed CMUs.
The relevant equations are detailed in Rule 8.5.3 (calculation of LFCO) and Rule 8.5.2 (calculation of ALFCO).

## Slide 28: CP399 Updates of ALFCO and CMVR Treatment
CMAG Secretariat circulated a note to CMAG Members clarifying the treatment of ALFCO and CMVR with CP399. The key conclusions of the note are as follows:
During System Stress Events (SSE) under the CP399 solution the term would not change because of suspended obligations under the new Rule 8.5.1.
Changes in CP399 would not change the treatment of SPDs in relation to the calculation of LFCO or ALFCO. This would mean that prior to the point of suspension under Rule 13.4.1ZA(b) [initial failure of SPD requirements leads to typical suspension period between 1 May and 31 July] there is no impact and within the suspension period the suspended capacity is reflected in SCOij.
CMVR should be prohibited for CMUs that use the exemptions under CP399

## Slide 29: CP399 Updates of ALFCO and CMVR Treatment
Following the note a question was raised about the current treatment of the term in Rule 8.5.3 what impacts this could have on delivery obligations for other Capacity Committed CMUs.
The equation in Rule 8.5.3 is as follows:
CMUs with suspended obligations or testing requirements may still be able to deliver in some cases. Their metered delivery volumes values would either be 0 where the TL/DNO issue means that the Capacity Provider cannot deliver or reduced from what would otherwise be the case where there is a curtailment.

## Slide 30: CP399 Updates of ALFCO and CMVR Treatment
Given this treatment of where interruptions or curtailments occur would be smaller than otherwise would be the case. This would have the impact of reducing the LFCO and ALFCO of all other Capacity Committed CMUs. CMAG Secretariat notes:
The impact of interruptions or curtailments on is expected to be minimal
It is the Secretariat’s understanding that the scaling down of LFCO for each Capacity Committed CMU in Rule 8.5.3 is design feature intended to address cases where demand required to prevent SSE conditions is not the total capacity procured across T-4 and T-1 Auctions but a smaller total capacity requirement
When interruptions and curtailments occur the remaining Capacity Providers benefit from marginally lower which marginally lowers LFCO and ALFCO
Current exemptions under Rule 8.5.1 are treated as above.
CP399 would keep some CMUs that would otherwise be terminated in the CM and so in that sense could have a small impact on (between August and September of each Delivery Year)
Q: Is the above treatment appropriate?

## Slide 31: CP399 Legal Text Updates
At CMAG 44 Members agreed the following updates to the legal text and these updates have been provided in the updated legal text:
Inclusion of a requirement to inform EMR DB when interruptions or curtailments are no longer applicable
Clear prohibition that where any of the suspensions are in effect the relevant Capacity Committed CMUs cannot participate in CMVR.
Q: Timescales for which SSE ITE reports can be submitted are not confirmed, what should these be [To update following EMR DB Impact Assessment response]

## Slide 32: CP399 CMAG Standard Questions
The solution proposed for CP399 is as follows:
Question | Proposer Response
Does the Change Proposal better facilitate the CM Rules Change Objectives? | Yes, Change Proposal better facilitates Objectives (i) promoting investment in capacity to ensure security of electricity supply and (ii) facilitating the efficient operation and administration of the Capacity Market.
Are there any impacts on Regulations? | No impacts on Regulations.
Are there any impacts on other central industry frameworks or obligations impacted directly or indirectly? | No direct or indirect impacts on other frameworks or obligations.

## Slide 33: CP399 CMAG Standard Questions
Question | Proposer Response
Are there any impacts on consumers? | Only impacts would be positive. CMU with multi-year agreements where the CMU is fully functional, but testing cannot be met due to an issue the Network Operator is experiencing would not be terminated meaning the capacity would be available again as soon as the Network Operator has resolved their issue. This would also mean the capacity would not need to be re-procured via a T-1 auction or a later T-4. The change also provides assurance to Capacity Providers regarding a risk that is entirely outside their control and could lead to increased participation in the Capacity Market bringing which would bring down the clearing prices.

## Slide 34: CP399 CMAG Standard Questions
Question | Proposer Response
Any other related changes to the CM in the pipeline? | None
What is the scale of impact and the costs on CM participants; | Implementation does not entail changes to standard administration of the Capacity Market. I.e., unless a CMU needs to rely on the exceptions this Change Proposal would introduce, their introduction would not require any action from Capacity Providers, EMRS, or the Delivery Body. For CMUs that do need to rely on the exceptions, the costs and impacts associated with obtaining an ITE Report for the Capacity Provider and the administrative cost for the Delivery Body to review the ITE Reports would be offset by the reduction in costs and admin associated with appeals.

## Slide 35: CP399 CMAG Standard Questions
Question | Responses
What are the impacts on the CM Delivery Partners including i The impacts on systems and processes; ii Indicative costs to make the proposed changes; and iii Indicative lead times to deliver the proposed changes | TBC with Delivery Partners
h) The draft legal text; | TBC with CMAG
i) Whether the CMAG recommends to Ofgem that the change be made. | TBC with CMAG

## Slide 36: Recommendation
The CMAG recommends to Ofgem:​
That the solution better facilitates the CM Rules Change Objectives of:
          Promoting investment in capacity to ensure security of electricity supply.​
          ​ii. Facilitating the efficient operation and administration of the Capacity Market.
c) The draft legal text; and​
d) That CP399 should be implemented.

## Slide 37: Forward Work Plan

## Slide 38: Forward Work Plan
Review or Subgroup
Initial Consideration of Proposal
Development
CMAG
Recommendation
CMAG Report
Sent to Ofgem
Pre-raise consideration
Anticipated Timelines
Key
CP399 Network disconnect
Duplicate MPANs
Secondary Trading Review
CP373 follow-on items
Removal of System Operator File 6
August
September
July
June
June
June
July
August
September
Jan
August
September
July
July
June
July
June

## Slide 39: Prioritised pipeline from Oct / Nov 2025
Title | Category | Priority Score | Predicted Start
Implications of REMA | Review | 25 | Awaiting DESNZ decision on proposed changes for Prequalification 2026
De-Rating Factors | Review | 21 | 
Connection Capacity | Review | 20 | 
Requirement to publish suspensions | Operational Process | 17 | 
Change of Owner | Operational Process | 11 | 
MPAN issues post CP373 | Operational Process | 11 | 
Foreign Currency Methodology | Operational Process | 11 | 

## Slide 40
For any support or additional information, you can contact: CMAG@Elexon.co.uk​
Before raising a Change Proposal, you can also raise a CMAG Surgery Item. This allows you to discuss/workshop an idea with CM experts before formally raising a Change Proposal.
To formally enable CMAG to assess, develop, and recommend changes to the CM Rules, please complete a CM Rules Change Proposal Template. This will also allow the CMAG Secretariat to provide support and guidance in developing the proposal, along with our CM Delivery Partners. ​​
Additional information on how to raise a Change Proposal can be found online via: ​
    The Change Process for the Capacity Market Rules – Guidance (Ofgem webpage).​
​
Ofgem has shared that they are committing to a minimum of one consultation per year, OR once a sufficient number of Change Proposals (around 5 or 6) are ready for consultation.
Forward Work Plan

## Slide 41: AOB and meeting close

## Slide 42: Thank You